## RDFS comparison results
Item | Property | Value Model A: LTDS_Merged_SC_RDFSv2020.rdf | Value Model B: LTDS_Merged_SC_RDFSv2020_v1-0-1.rdf
ACLineSegment | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_LTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
ACLineSegment | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
ActivePower | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
AngleDegrees | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
Boolean | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Boolean | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
Conductance | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Conductance | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
CurrentFlow | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_LTDSextendedShortCircuitProfile | sc:Package_SCProfile
CurrentFlow | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
CurrentFlow | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
Date | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
Date | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Date | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
DateTime | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
DateTime | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Float | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
Float | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Float | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
Integer | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Integer | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
IRI | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
IRI | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Length | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
Ontology | dcterms:modified | "2023-06-26"^^xsd:date | "2024-07-18"^^xsd:date
Ontology | owl:versionInfo | "1.0.0"@en | "1.0.1"@en
Package_DocLTDSdeviationCGMESShortCircuitProfile | null:ClassCategory | New property: null:Package_DocLTDSdeviationCGMESShortCircuitProfile in class: nullClassCategory | N/A
Package_DocLTDSdeviationCGMESShortCircuitProfile | rdfs:comment | This package contains two types of information: <ul> <li>A list of classes present in the CGMES profile, but not used by LTDS </li> <li>The datatypes (enumerations, CIMDatatypes, primitives) that are not used by LTDS (and do not need to be printed in documentation) but are needed to support profile definition.</li> </ul> | N/A
Package_DocLTDSdeviationCGMESShortCircuitProfile | rdfs:label | "DocLTDSdeviationCGMESShortCircuitProfile"@en | N/A
Package_DocLTDSextendedShortCircuitProfile | null:ClassCategory | New property: null:Package_DocLTDSextendedShortCircuitProfile in class: nullClassCategory | N/A
Package_DocLTDSextendedShortCircuitProfile | rdfs:comment | This package contains datatypes that are only used in the version/ontology class and do not need to be printed in the documentation. | N/A
Package_DocLTDSextendedShortCircuitProfile | rdfs:label | "DocLTDSextendedShortCircuitProfile"@en | N/A
Package_LTDSdeviationCGMESShortCircuitProfile | null:ClassCategory | New property: null:Package_LTDSdeviationCGMESShortCircuitProfile in class: nullClassCategory | N/A
Package_LTDSdeviationCGMESShortCircuitProfile | rdfs:comment | The LTDS Deviation Short Circuit profile defines deviations from the CGMES Short Circuit profile. | N/A
Package_LTDSdeviationCGMESShortCircuitProfile | rdfs:label | "LTDSdeviationCGMESShortCircuitProfile"@en | N/A
Package_LTDSextendedShortCircuitProfile | null:ClassCategory | New property: null:Package_LTDSextendedShortCircuitProfile in class: nullClassCategory | N/A
Package_LTDSextendedShortCircuitProfile | rdfs:comment | The LTDS Extended Short Circuit profile defines extensions to the CGMES Short Circuit profile. | N/A
Package_LTDSextendedShortCircuitProfile | rdfs:label | "LTDSextendedShortCircuitProfile"@en | N/A
Package_SCProfile | null:ClassCategory | N/A | New property: null:Package_SCProfile in class: null:ClassCategory
Package_SCProfile | rdfs:comment | N/A | This is a package for the SC profile.
Package_SCProfile | rdfs:label | N/A | "SCProfile"@en
Package_ShortCircuitProfile | null:ClassCategory | New property: null:Package_ShortCircuitProfile in class: nullClassCategory | N/A
Package_ShortCircuitProfile | rdfs:comment | This is the IEC 61970-452 short circuit profile. | N/A
Package_ShortCircuitProfile | rdfs:label | "ShortCircuitProfile"@en | N/A
PerCent | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
PetersenCoilModeKind.automaticPositioning | cim:PetersenCoilModeKind | New property: cim:PetersenCoilModeKind.automaticPositioning in class: cimPetersenCoilModeKind | N/A
PetersenCoilModeKind.automaticPositioning | rdfs:comment | Automatic positioning. | N/A
PetersenCoilModeKind.automaticPositioning | rdfs:label | "automaticPositioning"@en | N/A
PetersenCoilModeKind.automaticPositioning | cims:stereotype | enum | N/A
PetersenCoilModeKind.fixed | cim:PetersenCoilModeKind | New property: cim:PetersenCoilModeKind.fixed in class: cimPetersenCoilModeKind | N/A
PetersenCoilModeKind.fixed | rdfs:comment | Fixed position. | N/A
PetersenCoilModeKind.fixed | rdfs:label | "fixed"@en | N/A
PetersenCoilModeKind.fixed | cims:stereotype | enum | N/A
PetersenCoilModeKind.manual | cim:PetersenCoilModeKind | New property: cim:PetersenCoilModeKind.manual in class: cimPetersenCoilModeKind | N/A
PetersenCoilModeKind.manual | rdfs:comment | Manual positioning. | N/A
PetersenCoilModeKind.manual | rdfs:label | "manual"@en | N/A
PetersenCoilModeKind.manual | cims:stereotype | enum | N/A
PowerTransformerEnd | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_LTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
PowerTransformerEnd | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
ProtectedSwitch | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_LTDSextendedShortCircuitProfile | sc:Package_SCProfile
PU | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
Reactance | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Reactance | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
Resistance | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Resistance | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
ShortCircuitRotorKind.salientPole1 | cim:ShortCircuitRotorKind | New property: cim:ShortCircuitRotorKind.salientPole1 in class: cimShortCircuitRotorKind | N/A
ShortCircuitRotorKind.salientPole1 | rdfs:comment | Salient pole 1 in IEC 60909. | N/A
ShortCircuitRotorKind.salientPole1 | rdfs:label | "salientPole1"@en | N/A
ShortCircuitRotorKind.salientPole1 | cims:stereotype | enum | N/A
ShortCircuitRotorKind.salientPole2 | cim:ShortCircuitRotorKind | New property: cim:ShortCircuitRotorKind.salientPole2 in class: cimShortCircuitRotorKind | N/A
ShortCircuitRotorKind.salientPole2 | rdfs:comment | Salient pole 2 in IEC 60909. | N/A
ShortCircuitRotorKind.salientPole2 | rdfs:label | "salientPole2"@en | N/A
ShortCircuitRotorKind.salientPole2 | cims:stereotype | enum | N/A
ShortCircuitRotorKind.turboSeries1 | cim:ShortCircuitRotorKind | New property: cim:ShortCircuitRotorKind.turboSeries1 in class: cimShortCircuitRotorKind | N/A
ShortCircuitRotorKind.turboSeries1 | rdfs:comment | Turbo Series 1 in IEC 60909. | N/A
ShortCircuitRotorKind.turboSeries1 | rdfs:label | "turboSeries1"@en | N/A
ShortCircuitRotorKind.turboSeries1 | cims:stereotype | enum | N/A
ShortCircuitRotorKind.turboSeries2 | cim:ShortCircuitRotorKind | New property: cim:ShortCircuitRotorKind.turboSeries2 in class: cimShortCircuitRotorKind | N/A
ShortCircuitRotorKind.turboSeries2 | rdfs:comment | Turbo series 2 in IEC 60909. | N/A
ShortCircuitRotorKind.turboSeries2 | rdfs:label | "turboSeries2"@en | N/A
ShortCircuitRotorKind.turboSeries2 | cims:stereotype | enum | N/A
String | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
String | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
String | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
StringFixedLanguage | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
StringFixedLanguage | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
StringIRI | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
StringIRI | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Susceptance | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Susceptance | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
Temperature | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Temperature | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
UnitMultiplier | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
UnitMultiplier | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
UnitMultiplier | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
UnitSymbol | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
UnitSymbol | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
UnitSymbol | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile
URL | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/ExtendedSC#Package_DocLTDSextendedShortCircuitProfile | sc:Package_SCProfile
URL | cims:belongsToCategory | http://ofgem.gov.uk/ns/CIM/LTDS/DeviationSC#Package_DocLTDSdeviationCGMESShortCircuitProfile | sc:Package_SCProfile
Voltage | cims:belongsToCategory | http://iec.ch/TC57/ns/CIM/ShortCircuit-EU#Package_ShortCircuitProfile | sc:Package_SCProfile